| Tent/Membrane Permit 2018 |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The NC Fire Code requires tent other membrane structures to be evaluated for fire and life safety with a permit issued prior to an event. For all State-owned property the State Construction Office is responsible for that evaluation and granting of a permit. Upon obtaining satisfactory evidence that the proposed structure will be in accordance with the minimum Code requirements, SCO will issue a permit in the form of a signed approval letter/E-mail. Applicants should submit the completed application with required attachments to SCO at least 30 days prior to the event. E-mail to: sco.permits@doa.nc.gov |  |  |  |  |  |  |  |  |  |  |  |  |
| SECTION I - Event Information |  |  |  |  |  |  |  |  |  |  |  |  |
| Applicant's Name: |  |  |  | Click or tap here to enter text. |  |  |  | Department: |  | Click or tap here to enter text. |  |  |
| Phone Number: |  |  |  | Click or tap here to enter text. |  |  |  | E-Mail Address: |  | Click or tap here to enter text. |  |  |
| Event Address/Location: Click or tap here to enter text. |  |  |  |  |  |  |  |  |  |  |  |  |
| Name/Type of Event: Click or tap here to enter text. |  |  |  |  |  |  |  |  |  |  |  |  |
| Set Up Date: |  |  |  | Select date |  | Event Time: Enter time |  | Event Date: |  | Select date |  |  |
| SECTION II - Tent/Membrane Structure Checklist |  |  |  |  |  |  |  |  |  |  |  |  |
| Application is for: |  |  |  | TENT☐ |  | or MEMBRANE☐ |  | # of Structures & Size: |  | Click or tap here to enter text. |  |  |
| # | Yes | No | N/A |  | LIST |  |  |  |  |  |  |  |
| 1 | ☐ | ☐ | ☐ |  | Tent > 800 SF with sides/flaps. Permit required |  |  |  |  |  |  |  |
| 2 | ☐ | ☐ | ☐ |  | Tent > 1800 SF without sides. Permit required |  |  |  |  |  |  |  |
| 3 | ☐ | ☐ | ☐ |  | Air-supported Structure > 400 SF. Additional information is required. See NC Fire Code 2018 |  |  |  |  |  |  |  |
| 4 | ☐ | ☐ | ☐ |  | Attached certificate(s), flame resistant material or treated with flame retardant, by manufacturer |  |  |  |  |  |  |  |
| 5 | ☐ | ☐ | ☐ |  | Tent with sides, at least 2 marked exits that are 72" wide. (More than199 occupants, see Table 3103.12.2 NCFC 2018) |  |  |  |  |  |  |  |
| 6 | ☐ | ☐ | ☐ |  | Exit with curtains shall be free sliding on a metal support at a minimum of 80 " above the floor. When fully opened, no part of the curtain obstructs the exit. |  |  |  |  |  |  |  |
| 7 | ☐ | ☐ | ☐ |  | Exit signs for tent with sides/flaps shall be illuminated with battery backup. |  |  |  |  |  |  |  |
| 8 | ☐ | ☐ | ☐ |  | "No Smoking" sign shall be conspicuously posted in accordance. |  |  |  |  |  |  |  |
| 9 | ☐ | ☐ | ☐ |  | An "Occupant Load" sign noting the occupant load shall be posted. NC Admin Code 2018. |  |  |  |  |  |  |  |
| 10 | ☐ | ☐ | ☐ |  | Aisles shall be 44" clear width free of obstructions in public area. |  |  |  |  |  |  |  |
| 11 | ☐ | ☐ | ☐ |  | 20 feet wide fire lane to the tent. |  |  |  |  |  |  |  |
| 12 | ☐ | ☐ | ☐ |  | Fire Department vehicle access to within 150 feet around the tent. |  |  |  |  |  |  |  |
| 13 | ☐ | ☐ | ☐ |  | Maintain 20 feet clearance between structure and other tents, membrane structures, lot lines, building lines, parked vehicles, or internal combustion engines. (Support ropes and guy wires are part of the tent. The 20 feet clearance will be measured from this point out.) |  |  |  |  |  |  |  |
| 14 | ☐ | ☐ | ☐ |  | Open flames and other devices emitting flame, sire, heat or flammable or combustible liquids, gas, charcoal or other cooking devices shall be at least 20 feet away from tent. (This excludes floor warming devices such as solid flammables, butane or other similar devices which do not pose an ignition hazard.) |  |  |  |  |  |  |  |
| 15 | ☐ | ☐ | ☐ |  | Cooking and heating equipment more than 10 feet from exits and combustible material. |  |  |  |  |  |  |  |
| 16 | ☐ | ☐ | ☐ |  | Fire extinguishers located within 75 feet of all points within the tent. |  |  |  |  |  |  |  |
| 17 | ☐ | ☐ | ☐ |  | Combustible vegetation removed to 30 feet from the area to be occupied by the tent/membrane structure. |  |  |  |  |  |  |  |
| 18 | ☐ | ☐ | ☐ |  | Accessibility fixtures, including an accessible walking surface to accommodate persons with disability. Note that grass is NOT an accessible walking surface. |  |  |  |  |  |  |  |
| 19 | ☐ | ☐ | ☐ |  | Tent/membrane structure shall be maintained in good condition and adequately roped, braced and anchored to withstand the elements of weather and prevent collapse. Ropes, guy wires, etc. must be readily visible to minimize tripping hazard. |  |  |  |  |  |  |  |
| 20 | ☐ | ☐ | ☐ |  | Restroom accommodations for the event. Indicate the location and type (i.e. portables or in buildings) on |  |  |  |  |  |  |  |
|  |  |  |  |  | the Site Plan. Location: |  | Click or tap here to enter text. |  |  |  |  |  |
| SECTION III - Attachments |  |  |  |  |  |  |  |  |  |  |  |  |
| A | ☐ | ☐ | ☐ |  | Certificate of Flame Resistance |  |  |  |  |  |  |  |
| B | ☐ | ☐ | ☐ |  | Occupant load calculation for the event - Standing 5 SF; Seating 7 SF or Seating with tables 15 SF. If occupant load >50, a tent floor plan with dimensions showing seating, tables, exit aisles, exit locations, |  |  |  |  |  |  |  |
|  |  |  |  |  | exit widths and equipment within the tent. OCCUPANT LOAD |  |  |  | Click or tap here to enter text. |  |  |  |
| C | ☐ | ☐ | ☐ |  | Dimension Site Plan showing tent location, 20 feet clearance from other structures, and Fire Department vehicular access to within 150 feet. |  |  |  |  |  |  |  |